## Sheet2
Test Building |  | Building Id | Electric | Stories | In.Bedrooms | In.Vintage | In.Geometry Building Type Recs | Total Heating TBTU/yr | Elec TBTU/yr | Fossil TBTU/yr | In.Geometry Attic Type | In.Geometry Building Type Acs | In.Geometry Building Type Height | In.Geometry Floor Area | In.Geometry Floor Area Bin | In.Geometry Foundation Type | In.Geometry Wall Exterior Finish | In.Geometry Wall Type | In.Geometry Wall Type And Exterior Finish | In.Heating Fuel | In.Hvac Cooling Efficiency | In.Hvac Cooling Type | In.Hvac Has Ducts | In.Hvac Has Shared System | In.Hvac Has Zonal Electric Heating | In.Hvac Heating Efficiency | In.Hvac Heating Type | In.Infiltration | In.Insulation Ceiling | In.Insulation Floor | In.Insulation Foundation Wall | In.Insulation Roof | In.Insulation Slab | In.Insulation Wall | In.Lighting | In.Misc Extra Refrigerator | In.Misc Freezer | In.Misc Gas Fireplace | In.Misc Gas Grill | In.Misc Gas Lighting | In.Misc Hot Tub Spa | In.Misc Pool | In.Misc Pool Heater | In.Misc Pool Pump | In.Misc Well Pump | In.Occupants | In.Resstock County Id | In.State | In.Vacancy Status | In.Vintage | In.Vintage Acs | In.Water Heater Efficiency | In.Water Heater Fuel | In.Water Heater In Unit | In.Windows | Tenure type | Number of units | Out.Floor Area Conditioned Ft 2 | Clothes Dryer (group) | Cooking Range (group) | In.Bathroom Spot Vent Hour | In.Cec Climate Zone | In.Ceiling Fan | In.Clothes Dryer | In.Clothes Washer | In.Clothes Washer Presence | In.Cooking Range | In.Cooling Setpoint | In.Cooling Setpoint Has Offset | In.Cooling Setpoint Offset Magnitude | In.Cooling Setpoint Offset Period | In.Corridor | In.Dehumidifier | In.Dishwasher | In.Door Area | In.Doors | In.Ducts | In.Eaves | In.Electric Vehicle | In.Geometry Building Horizontal Location Mf | In.Geometry Building Horizontal Location Sfa | In.Geometry Building Level Mf | In.Geometry Building Number Units Mf | In.Geometry Building Number Units Sfa | In.Geometry Building Type Recs (group) | In.Geometry Garage | In.Geometry Stories Low Rise | In.Heating Setpoint | In.Heating Setpoint Has Offset | In.Heating Setpoint Offset Magnitude | In.Heating Setpoint Offset Period | In.Holiday Lighting | In.Hot Water Distribution | In.Hot Water Fixtures | In.Hvac Heating System Type | In.Hvac Secondary Heating Efficiency | In.Hvac Secondary Heating Type And Fuel | In.Hvac Shared Efficiencies | In.Hvac System Is Faulted | In.Hvac System Single Speed Ac Airflow | In.Hvac System Single Speed Ac Charge | In.Hvac System Single Speed Ashp Airflow | In.Hvac System Single Speed Ashp Charge | In.Interior Shading | In.Iso Rto Region | In.Lighting Interior Use | In.Lighting Other Use | In.Location City | In.Location Latitude | In.Location Longitude | In.Location Region | In.Mechanical Ventilation | In.Natural Ventilation | In.Neighbors | In.Orientation | In.Overhangs | In.Plug Load Diversity | In.Plug Loads | In.Pv | In.Radiant Barrier | In.Range Spot Vent Hour | In.Reeds Balancing Area | In.Refrigerator | In.Resstock Puma Id | In.Roof Material | In.Schedules | In.Solar Hot Water | In.Units Represented | In.Usage Level | In.Window Areas | Out.Door Area Ft 2 | Out.Duct Unconditioned Surface Area Ft 2 | Out.Floor Area Attic Ft 2 | Out.Floor Area Lighting Ft 2 | Out.Hours Cooling Setpoint Not Met | Out.Hours Heating Setpoint Not Met | Out.Hvac Cooling Capacity W | Out.Hvac Heating Capacity W | Out.Hvac Heating Supp Capacity W | Out.Roof Area Ft 2 | Out.Size Cooling System Kbtu H |  | Out.Size Water Heater Gal | Out.Size Water Heater Gal (group) | Out.Wall Area Above Grade Conditioned Ft 2 | Out.Wall Area Above Grade Exterior Ft 2 | Out.Wall Area Below Grade Ft 2 | Out.Window Area Ft 2 | Scaled Units
1 | E | 395397 | Natural Gas Fuel Wall/Floor Furnace | 1 | 2 | 1990s | Mobile Home | 0.013744 | 0 | 0.013744 | Vented Attic | Mobile Home | Mobile Home | 1000-1499 | 0-1499 | Ambient | Vinyl, Light | Wood Frame | Wood Frame, Vinyl, Light | Natural Gas | AC, SEER 13 | Central AC | Has ducts | In-unit HVAC | No | Fuel Wall/Floor Furnace, 60% AFUE | Non-Ducted Heating | 15 ACH50 | R-30 | Uninsulated | Uninsulated | Unfinished, Uninsulated | None | Wood Stud, R-11 | 100% CFL | None | EF 12, National Average | None | None | None | None | None | None | None | Typical Efficiency | 1 | CO, Denver County | CO | Occupied | 1990s | 1980-99 | Natural Gas Standard | Natural Gas | WH in unit | Double, Clear, Non-metal, Air | owner_occupied | 242.131 | 1220 | Gas | Electric | Hour4 | None | Standard Efficiency | Gas, 100% Usage | EnergyStar, 100% Usage | Yes | Electric, 100% Usage | 75F | Yes | 2F | Night Setup +2h | Not Applicable | None | 318 Rated kWh, 100% Usage | 20 ft^2 | Fiberglass | 30% Leakage, R-4 | 2 ft | None | None | None | None | None | None | Single-Family Detached & Mobile Home | None | 1 | 62F | Yes | 6F | Night -3h | No Exterior Use | Uninsulated, TrunkBranch, Copper | 100% Usage | Fuel Wall/Floor Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | Left/Right at 15ft | Northwest | None | 1 | 0.95 | None | No | Hour17 | 33 | EF 15.9, 100% Usage | CO, 00814 | Asphalt Shingles, Medium | Stochastic | None | 1 | Medium | F12 B12 L12 R12 | 20 | 390.4 | 1220 | 1220 | 85.17 | 30.17 | 5437.2635 | 11604.847 | 0 | 1364 | 18.55 | 39.6 | 30 | 20-30 | 1166.33 | 1918.94 | 0 | 139.96 | 12
2 | E | 2068 | Electricity Electric Boiler | 3 | 3 | 1960s | Single-Family Detached | 0.0031367 | 0.0031367 | 0 | Vented Attic | Single-Family Detached | Single-Family Detached | 1500-1999 | 1500-2499 | Vented Crawlspace | Brick, Medium/Dark | Wood Frame | Wood Frame, Brick, Medium/Dark | Electricity | None | No AC | No ducts | In-unit HVAC | No | Electric Boiler, 100% AFUE | Non-Ducted Heating | 25 ACH50 | R-30 | Uninsulated | Uninsulated | Unfinished, Uninsulated | None | Wood Stud, Uninsulated | 100% CFL | None | EF 12, National Average | None | None | None | None | None | None | None | None | 2 | CO, Denver County | CO | Occupied | 1960s | 1960-79 | Electric Standard | Electricity | WH in unit | Double, Clear, Non-metal, Air | owner_occupied | 208.1423 | 1690 | Electric | Electric | Hour5 | None | None | Electric, 120% Usage | EnergyStar, 120% Usage | Yes | Electric, 120% Usage | 80F | Yes | 2F | Day Setup and Night Setback +2h | Not Applicable | None | 290 Rated kWh, 120% Usage | 20 ft^2 | Fiberglass | None | 2 ft | None | None | None | None | None | None | Single-Family Detached & Mobile Home | 1 Car | 3 | 68F | Yes | 12F | Night | No Exterior Use | Uninsulated, TrunkBranch, Copper | 200% Usage | Electric Boiler | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | Left/Right at 15ft | Northeast | None | 2 | 0.91 | None | No | Hour18 | 33 | EF 17.6, 100% Usage | CO, 00815 | Composition Shingles | Stochastic | None | 1 | High | F6 B6 L6 R6 | 20 | 0 | 659.33 | 1978 | 1336.17 | 36.33 | 0 | 24624.9525 | 0 | 737.16 | 0 | 84.02 | 50 | 40-50 | 2658.09 | 2939.66 | 283.01 | 147.97 | 10
3 |  | 2578 | Natural Gas Fuel Wall/Floor Furnace | 2 | 4 | <1940 | Single-Family Detached | 0.033894 | 0 | 0.033894 | Vented Attic | Single-Family Detached | Single-Family Detached | 2000-2499 | 1500-2499 | Vented Crawlspace | Vinyl, Light | Wood Frame | Wood Frame, Vinyl, Light | Natural Gas | Room AC, EER 10.7 | Room AC | No ducts | In-unit HVAC | No | Fuel Wall/Floor Furnace, 68% AFUE | Non-Ducted Heating | 10 ACH50 | R-7 | Uninsulated | Uninsulated | Unfinished, Uninsulated | None | Wood Stud, Uninsulated | 100% CFL | None | None | None | None | None | None | None | None | None | None | 2 | CO, Denver County | CO | Occupied | <1940 | <1940 | Natural Gas Premium | Natural Gas | WH in unit | Single, Clear, Non-metal | owner_occupied | 200.1439 | 2176 | Electric | Electric | Hour17 | None | None | Electric, 80% Usage | EnergyStar, 80% Usage | Yes | Electric, 80% Usage | 65F | Yes | 5F | Night Setup -3h | Not Applicable | None | None | 20 ft^2 | Fiberglass | None | 2 ft | None | None | None | None | None | None | Single-Family Detached & Mobile Home | None | 2 | 70F | No | 0F | None | No Exterior Use | Uninsulated, TrunkBranch, Copper | 50% Usage | Fuel Wall/Floor Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | Left/Right at 15ft | East | None | 0.5 | 0.91 | None | No | Hour18 | 33 | EF 17.6, 100% Usage | CO, 00814 | Composition Shingles | Stochastic | None | 1 | Low | F9 B9 L9 R9 | 20 | 0 | 1088 | 2176 | 247.17 | 1.17 | 7239.0735 | 21410.8837 | 0 | 1216.42 | 24.7 | 73.06 | 40 | 40-50 | 2202.86 | 2353.97 | 550.71 | 198.26 | 10
4 |  | 2876 | Natural Gas Fuel Furnace | 3 | 2 | 1980s | Multi-Family with 5+ Units | 0.0041624 | 0.00016524 | 0.0039972 | None | 5 to 9 Unit | Multifamily with 5+ units, 1-3 stories | 1500-1999 | 1500-2499 | Unvented Crawlspace | Wood, Medium/Dark | Wood Frame | Wood Frame, Wood, Medium/Dark | Natural Gas | AC, SEER 13 | Central AC | Has ducts | In-unit HVAC | No | Fuel Furnace, 92.5% AFUE | Ducted Heating | 25 ACH50 | None | Uninsulated | Uninsulated | Finished, R-38 | None | Wood Stud, R-11 | 100% LED | None | None | None | None | None | None | None | None | None | None | 1 | CO, Denver County | CO | Occupied | 1980s | 1980-99 | Natural Gas Standard | Natural Gas | WH in unit | Single, Clear, Metal | owner_occupied | 92.3949 | 1623 | None | Electric | Hour21 | None | Standard Efficiency | None | None | None | Electric, 120% Usage | 72F | No | 0F | None | Double-Loaded Interior | None | None | 20 ft^2 | Fiberglass | 10% Leakage, Uninsulated | 2 ft | None | Left | None | Top | 6 | None | Multi-Family & Single-Family Attached | None | 3 | 65F | No | 0F | None | No Exterior Use | Uninsulated, TrunkBranch, Copper | 200% Usage | Fuel Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | 27 | Southwest | None | 2 | 1.05 | None | None | Hour14 | 33 | EF 17.6, 100% Usage | CO, 00815 | Asphalt Shingles, Medium | Stochastic | None | 1 | High | F9 B9 L9 R9 | 20 | 0 | 0 | 1623 | 113 | 0 | 3915.4846 | 11586.128 | 0 | 1623 | 13.36 | 39.53 | 30 | 20-30 | 912.84 | 912.84 | 0 | 82.16 | 5
5 |  | 5274 | Electricity Baseboard | 1 | 3 | 1970s | Single-Family Detached | 0.0043474 | 0.0043474 | 0 | Vented Attic | Single-Family Detached | Single-Family Detached | 1000-1499 | 0-1499 | Slab | Brick, Medium/Dark | Wood Frame | Wood Frame, Brick, Medium/Dark | Electricity | None | No AC | No ducts | In-unit HVAC | Yes | Electric Baseboard, 100% Efficiency | Non-Ducted Heating | 10 ACH50 | R-30 | None | None | Unfinished, Uninsulated | Uninsulated | Wood Stud, R-7 | 100% CFL | None | None | None | None | None | None | None | None | None | None | 1 | CO, Denver County | CO | Occupied | 1970s | 1960-79 | Electric Standard | Electricity | WH in unit | Double, Clear, Non-metal, Air | owner_occupied | 195.133 | 1220 | Electric | Electric | Hour5 | None | Standard Efficiency | Electric, 100% Usage | EnergyStar, 100% Usage | Yes | Electric, 100% Usage | 72F | Yes | 2F | Day Setup -1h | Not Applicable | None | None | 20 ft^2 | Fiberglass | None | 2 ft | None | None | None | None | None | None | Single-Family Detached & Mobile Home | None | 1 | 72F | Yes | 12F | Day +4h | No Exterior Use | Uninsulated, TrunkBranch, Copper | 100% Usage | Electric Baseboard & Wall Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | Left/Right at 15ft | South | None | 1 | 0.91 | None | No | Hour17 | 33 | EF 17.6, 100% Usage | CO, 00812 | Asphalt Shingles, Medium | Stochastic | None | 1 | Medium | F6 B6 L6 R6 | 20 | 0 | 1220 | 1220 | 3640.67 | 37 | 0 | 6857.0822 | 0 | 1364 | 0 | 23.4 | 50 | 40-50 | 1166.33 | 1335.78 | 0 | 69.98 | 10
6 |  | 6920 | Electricity Baseboard | 2 | 3 | 1980s | Single-Family Attached | 0.00076538 | 0.00076538 | 0 | Vented Attic | Single-Family Attached | Single-Family Attached | 750-999 | 0-1499 | Heated Basement | Brick, Medium/Dark | Wood Frame | Wood Frame, Brick, Medium/Dark | Electricity | None | No AC | No ducts | In-unit HVAC | Yes | Electric Baseboard, 100% Efficiency | Non-Ducted Heating | 8 ACH50 | R-30 | Uninsulated | Uninsulated | Unfinished, Uninsulated | None | Wood Stud, R-11 | 100% LED | None | None | None | None | None | None | None | None | None | None | 1 | CO, Denver County | CO | Occupied | 1980s | 1980-99 | Natural Gas Standard | Natural Gas | WH in unit | Double, Clear, Non-metal, Air | owner_occupied | 165.72 | 866 | Electric | Electric | Hour5 | None | None | Electric, 100% Usage | EnergyStar, 100% Usage | Yes | Electric, 100% Usage | 70F | No | 0F | None | Not Applicable | None | 290 Rated kWh, 100% Usage | 20 ft^2 | Fiberglass | None | 2 ft | None | None | Middle | None | None | 16 | Multi-Family & Single-Family Attached | None | 2 | 68F | Yes | 12F | Day and Night +2h | No Exterior Use | Uninsulated, TrunkBranch, Copper | 100% Usage | Electric Baseboard & Wall Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | None | West | None | 1 | 0.79 | None | No | Hour17 | 33 | EF 17.6, 100% Usage | CO, 00815 | Composition Shingles | Stochastic | None | 1 | Medium | F6 B6 L6 R6 | 20 | 0 | 288.67 | 866 | 10744.33 | 151.33 | 0 | 2853.1998 | 0 | 322.74 | 0 | 9.74 | 40 | 40-50 | 405.24 | 405.24 | 202.62 | 24.31 | 8
7 |  | 7447 | Natural Gas Fuel Furnace | 2 | 4 | 2000s | Single-Family Detached | 0.0065548 | 0.00022596 | 0.0063289 | Vented Attic | Single-Family Detached | Single-Family Detached | 2500-2999 | 2500-3999 | Ambient | Vinyl, Light | Wood Frame | Wood Frame, Vinyl, Light | Natural Gas | AC, SEER 15 | Central AC | Has ducts | In-unit HVAC | No | Fuel Furnace, 80% AFUE | Ducted Heating | 4 ACH50 | R-49 | Ceiling R-30 | Uninsulated | Unfinished, Uninsulated | None | Wood Stud, R-19 | 100% Incandescent | None | EF 12, National Average | Gas Fireplace | None | None | None | None | None | None | None | 2 | CO, Denver County | CO | Vacant | 2000s | 2000-09 | Natural Gas Standard | Natural Gas | WH in unit | Double, Low-E, Non-metal, Air, M-Gain | owner_occupied | 195.133 | 2663 | Electric | Electric | Hour5 | None | Standard Efficiency, No usage | Electric, 100% Usage | EnergyStar, 100% Usage | Yes | Electric, 100% Usage | 78F | Yes | 9F | Night Setup +2h | Not Applicable | None | 290 Rated kWh, 100% Usage | 20 ft^2 | Fiberglass | 30% Leakage, R-8 | 2 ft | None | None | None | None | None | None | Single-Family Detached & Mobile Home | None | 2 | 55F | Yes | 6F | Night -3h | No Exterior Use | Uninsulated, HomeRun, PEX | 100% Usage | Fuel Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | Left/Right at 15ft | West | None | 1 | 0.91 | None | No | Hour16 | 33 | EF 15.9, 100% Usage | CO, 00812 | Composition Shingles | Stochastic | None | 1 | Medium | F6 B6 L6 R6 | 20 | 738.98 | 1331.5 | 2663 | 5.67 | 59.5 | 4069.9485 | 11698.1663 | 0 | 1488.66 | 13.89 | 39.92 | 40 | 40-50 | 2436.93 | 3231.09 | 0 | 146.22 | 10
8 |  | 8538 | Electricity Shared Heating | 3 | 2 | 1970s | Multi-Family with 5+ Units | 0.0088909 | 0.0088909 | 0 | None | 20 to 49 Unit | Multifamily with 5+ units, 1-3 stories | 750-999 | 0-1499 | Vented Crawlspace | Brick, Medium/Dark | Wood Frame | Wood Frame, Brick, Medium/Dark | Electricity | None | No AC | Has ducts | Heating Shared | No | Shared Heating | Ducted Heating | 15 ACH50 | None | Uninsulated | Uninsulated | Finished, R-7 | None | Wood Stud, R-7 | 100% LED | None | None | None | None | None | None | None | None | None | None | 1 | CO, Denver County | CO | Occupied | 1970s | 1960-79 | Natural Gas Standard | Natural Gas | Shared DHW | Double, Low-E, Non-metal, Air, M-Gain | owner_occupied | 61.7957 | 853 | Electric | Propane | Hour4 | None | Standard Efficiency | Electric, 100% Usage | Standard, 100% Usage | Yes | Propane, 100% Usage | 72F | No | 0F | None | Double-Loaded Interior | None | 318 Rated kWh, 100% Usage | 20 ft^2 | Fiberglass | 20% Leakage, Uninsulated | 2 ft | None | Right | None | Bottom | 24 | None | Multi-Family & Single-Family Attached | None | 3 | 76F | Yes | 3F | Night -5h | No Exterior Use | Uninsulated, TrunkBranch, Copper | 100% Usage | Shared Heating | None | None | Boiler Baseboards Heating Only, Electricity | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | 27 | South | None | 1 | 1.05 | None | None | Hour11 | 33 | EF 15.9, 100% Usage | CO, 00815 | Asphalt Shingles, Medium | Stochastic | None | 1 | Medium | F15 B15 L15 R15 | 20 | 0 | 0 | 853 | 3283.83 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 20-30 | 487.63 | 527.63 | 263.81 | 73.14 | 3
9 |  | 8585 | Electricity Electric Furnace | 1 | 3 | 2000s | Single-Family Attached | 0.0044397 | 0.0044397 | 0 | Vented Attic | Single-Family Attached | Single-Family Attached | 2000-2499 | 1500-2499 | Unheated Basement | Vinyl, Light | Wood Frame | Wood Frame, Vinyl, Light | Electricity | AC, SEER 13 | Central AC | Has ducts | In-unit HVAC | No | Electric Furnace, 100% AFUE | Ducted Heating | 3 ACH50 | R-38 | Ceiling R-19 | Uninsulated | Unfinished, Uninsulated | None | Wood Stud, R-19 | 100% CFL | None | EF 12, National Average | None | None | None | None | None | None | None | None | 2 | CO, Denver County | CO | Occupied | 2000s | 2000-09 | Natural Gas Standard | Natural Gas | WH in unit | Double, Low-E, Non-metal, Air, M-Gain | owner_occupied | 165.72 | 2152 | Electric | Electric | Hour21 | None | Standard Efficiency | Electric, 120% Usage | EnergyStar, 120% Usage | Yes | Electric, 120% Usage | 72F | No | 0F | None | Not Applicable | None | 318 Rated kWh, 120% Usage | 20 ft^2 | Fiberglass | 20% Leakage, R-6 | 2 ft | None | None | Middle | None | None | 12 | Multi-Family & Single-Family Attached | None | 1 | 80F | Yes | 12F | Night -4h | No Exterior Use | Uninsulated, HomeRun, PEX | 200% Usage | Electric Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | 12 | North | None | 2 | 0.79 | None | No | Hour9 | 33 | EF 10.2, 100% Usage | CO, 00815 | Asphalt Shingles, Medium | Stochastic | None | 1 | High | F18 B18 L18 R18 | 20 | 688.64 | 2152 | 2152 | 1443.67 | 132.33 | 2189.4289 | 7136.2794 | 0 | 2406.01 | 7.47 | 24.35 | 40 | 40-50 | 553.23 | 553.23 | 553.23 | 99.58 | 8
10 |  | 9112 | Natural Gas Fuel Furnace | 1 | 2 | 1980s | Single-Family Detached | 0.011441 | 0.00036874 | 0.011073 | Vented Attic | Single-Family Detached | Single-Family Detached | 1000-1499 | 0-1499 | Vented Crawlspace | Wood, Medium/Dark | Wood Frame | Wood Frame, Wood, Medium/Dark | Natural Gas | None | No AC | Has ducts | In-unit HVAC | No | Fuel Furnace, 76% AFUE | Ducted Heating | 15 ACH50 | R-13 | Uninsulated | Uninsulated | Unfinished, Uninsulated | None | Wood Stud, R-11 | 100% Incandescent | None | None | None | None | None | None | None | None | None | None | 2 | CO, Denver County | CO | Occupied | 1980s | 1980-99 | Electric Standard | Electricity | WH in unit | Double, Low-E, Non-metal, Air, M-Gain | owner_occupied | 195.133 | 1220 | Electric | Electric | Hour1 | None | Standard Efficiency | Electric, 120% Usage | EnergyStar, 120% Usage | Yes | Electric, 120% Usage | 65F | No | 0F | None | Not Applicable | None | 290 Rated kWh, 120% Usage | 20 ft^2 | Fiberglass | 30% Leakage, Uninsulated | 2 ft | None | None | None | None | None | None | Single-Family Detached & Mobile Home | None | 1 | 70F | Yes | 3F | Day -4h | No Exterior Use | Uninsulated, TrunkBranch, Copper | 200% Usage | Fuel Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | Left/Right at 15ft | Northwest | None | 2 | 0.91 | None | No | Hour8 | 33 | EF 17.6, 100% Usage | CO, 00812 | Asphalt Shingles, Medium | Stochastic | None | 1 | High | F9 B9 L9 R9 | 20 | 390.4 | 1220 | 1220 | 4411.5 | 0 | 0 | 13362.7374 | 0 | 1364 | 0 | 45.6 | 30 | 20-30 | 1166.33 | 1335.78 | 583.17 | 104.97 | 10
11 |  | 37662 | Natural Gas Fuel Furnace | 2 | 4 | 1970s | Single-Family Attached | 0.0064152 | 0.00026436 | 0.0061509 | Vented Attic | Single-Family Attached | Single-Family Attached | 2000-2499 | 1500-2499 | Slab | Brick, Medium/Dark | Wood Frame | Wood Frame, Brick, Medium/Dark | Natural Gas | None | No AC | Has ducts | In-unit HVAC | No | Fuel Furnace, 92.5% AFUE | Ducted Heating | 7 ACH50 | R-38 | None | None | Unfinished, Uninsulated | Uninsulated | Wood Stud, R-7 | 100% Incandescent | None | None | None | None | None | None | None | None | None | Typical Efficiency | 2 | CO, Denver County | CO | Occupied | 1970s | 1960-79 | Natural Gas Standard | Natural Gas | WH in unit | Double, Low-E, Non-metal, Air, M-Gain | owner_occupied | 150.3028 | 2152 | Electric | Electric | Hour22 | None | Standard Efficiency | Electric, 80% Usage | EnergyStar, 80% Usage | Yes | Electric, 80% Usage | 72F | No | 0F | None | Not Applicable | None | None | 20 ft^2 | Fiberglass | 20% Leakage, R-4 | 2 ft | None | None | Middle | None | None | 12 | Multi-Family & Single-Family Attached | None | 2 | 75F | No | 0F | None | No Exterior Use | Uninsulated, TrunkBranch, Copper | 50% Usage | Fuel Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | 27 | Southeast | None | 0.5 | 0.79 | None | No | Hour18 | 33 | EF 17.6, 100% Usage | CO, 00814 | Asphalt Shingles, Medium | Stochastic | None | 1 | Low | F9 B9 L9 R9 | 20 | 597.18 | 1076 | 2152 | 3886 | 8.5 | 0 | 9119.9472 | 0 | 1203 | 0 | 31.12 | 40 | 40-50 | 782.38 | 782.38 | 0 | 70.41 | 8
12 |  | 41979 | Natural Gas Fuel Furnace | 2 | 1 | 1980s | Single-Family Attached | 0.0015233 | 4.39e-05 | 0.0014794 | Vented Attic | Single-Family Attached | Single-Family Attached | 500-749 | 0-1499 | Heated Basement | Stucco, Light | Wood Frame | Wood Frame, Stucco, Light | Natural Gas | AC, SEER 13 | Central AC | Has ducts | In-unit HVAC | No | Fuel Furnace, 92.5% AFUE | Ducted Heating | 20 ACH50 | R-13 | Uninsulated | Wall R-10, Exterior | Unfinished, Uninsulated | None | Wood Stud, R-11 | 100% CFL | None | None | None | None | None | None | None | None | None | None | 1 | CO, Denver County | CO | Occupied | 1980s | 1980-99 | Natural Gas Standard | Natural Gas | WH in unit | Double, Clear, Metal, Air | owner_occupied | 159.2935 | 617 | Electric | Gas | Hour4 | None | None | Electric, 120% Usage | EnergyStar, 120% Usage | Yes | Gas, 120% Usage | 72F | No | 0F | None | Not Applicable | None | 290 Rated kWh, 120% Usage | 20 ft^2 | Fiberglass | 0% Leakage, Uninsulated | 2 ft | None | None | Middle | None | None | 24 | Multi-Family & Single-Family Attached | None | 2 | 70F | Yes | 3F | Day and Night -2h | No Exterior Use | Uninsulated, TrunkBranch, Copper | 200% Usage | Fuel Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | 27 | North | None | 2 | 0.79 | None | No | Hour21 | 33 | EF 17.6, 100% Usage | CO, 00812 | Composition Shingles | Stochastic | None | 1 | High | F9 B9 L9 R9 | 20 | 0 | 205.67 | 617 | 9550.33 | 8.67 | 1439.4035 | 3231.1345 | 0 | 229.94 | 4.91 | 11.03 | 30 | 20-30 | 342.05 | 342.05 | 171.03 | 30.78 | 8
13 |  | 79435 | Electricity Electric Furnace | 1 | 4 | 2000s | Single-Family Detached | 0.0041624 | 0.0041624 | 0 | Vented Attic | Single-Family Detached | Single-Family Detached | 3000-3999 | 2500-3999 | Heated Basement | Vinyl, Light | Wood Frame | Wood Frame, Vinyl, Light | Electricity | AC, SEER 13 | Central AC | Has ducts | In-unit HVAC | No | Electric Furnace, 100% AFUE | Ducted Heating | 8 ACH50 | R-30 | Uninsulated | Wall R-10, Exterior | Unfinished, Uninsulated | None | Wood Stud, R-19 | 100% LED | None | EF 12, National Average | None | None | None | None | None | None | None | None | 1 | CO, Denver County | CO | Occupied | 2000s | 2000-09 | Electric Standard | Electricity | WH in unit | Double, Clear, Non-metal, Air | owner_occupied | 195.133 | 3301 | Electric | Electric | Hour2 | None | Standard Efficiency | Electric, 120% Usage | Standard, 120% Usage | Yes | Electric, 120% Usage | 60F | No | 0F | None | Not Applicable | None | None | 20 ft^2 | Fiberglass | 0% Leakage, Uninsulated | 2 ft | None | None | None | None | None | None | Single-Family Detached & Mobile Home | 2 Car | 1 | 68F | No | 0F | None | No Exterior Use | Uninsulated, HomeRun, PEX | 200% Usage | Electric Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | Left/Right at 15ft | South | None | 2 | 0.91 | None | No | Hour9 | 33 | EF 17.6, 100% Usage | CO, 00812 | Asphalt Shingles, Medium | Stochastic | None | 1 | High | F15 B15 L15 R15 | 20 | 0 | 1650.5 | 3877 | 9086 | 74.33 | 3575.8949 | 8325.7766 | 0 | 2489.3 | 12.2 | 28.41 | 50 | 40-50 | 1470.19 | 2003.43 | 1182.19 | 177.33 | 10
14 |  | 116279 | Natural Gas Shared Heating | 3 | 1 | 1970s | Multi-Family with 2 - 4 Units | 0.0012568 | 8.75e-07 | 0.0012559 | None | 3 or 4 Unit | Multifamily with 2-4 Units | 750-999 | 0-1499 | Slab | Brick, Medium/Dark | Wood Frame | Wood Frame, Brick, Medium/Dark | Natural Gas | None | No AC | No ducts | Heating Shared | No | Shared Heating | Non-Ducted Heating | 8 ACH50 | None | None | None | Finished, R-30 | Uninsulated | Wood Stud, R-7 | 100% LED | None | None | None | None | None | None | None | None | None | None | 1 | CO, Denver County | CO | Vacant | 1970s | 1960-79 | Natural Gas Standard | Natural Gas | Shared DHW | Single, Clear, Metal | owner_occupied | 82.446 | 853 | Electric | Electric | Hour6 | None | Standard Efficiency, No usage | Electric, 100% Usage | EnergyStar, 100% Usage | Yes | Electric, 100% Usage | 68F | No | 0F | None | Double-Loaded Interior | None | 318 Rated kWh, 100% Usage | 20 ft^2 | Fiberglass | None | 2 ft | None | Not Applicable | None | Bottom | 3 | None | Multi-Family & Single-Family Attached | None | 3 | 55F | No | 0F | None | No Exterior Use | Uninsulated, TrunkBranch, Copper | 100% Usage | Shared Heating | None | None | Boiler Baseboards Heating Only, Natural Gas | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | 12 | South | None | 1 | 0.96 | None | None | Hour18 | 33 | EF 10.5, 100% Usage | CO, 00815 | Wood Shingles | Stochastic | None | 1 | Medium | F30 B30 L30 R30 | 20 | 0 | 0 | 853 | 3005.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 20-30 | 975.25 | 975.25 | 0 | 292.58 | 4
15 |  | 316423 | Natural Gas Fuel Wall/Floor Furnace | 2 | 2 | 1960s | Multi-Family with 2 - 4 Units | 0.0027507 | 0 | 0.0027507 | None | 2 Unit | Multifamily with 2-4 Units | 750-999 | 0-1499 | Vented Crawlspace | Brick, Medium/Dark | Wood Frame | Wood Frame, Brick, Medium/Dark | Natural Gas | Room AC, EER 12.0 | Room AC | No ducts | In-unit HVAC | No | Fuel Wall/Floor Furnace, 68% AFUE | Non-Ducted Heating | 10 ACH50 | None | Uninsulated | Uninsulated | Finished, R-30 | None | Wood Stud, Uninsulated | 100% CFL | EF 15.9 | None | None | None | None | None | None | None | None | None | 2 | CO, Denver County | CO | Occupied | 1960s | 1960-79 | Natural Gas Standard | Natural Gas | WH in unit | Double, Clear, Non-metal, Air | owner_occupied | 76.1827 | 853 | Electric | Gas | Hour1 | None | Standard Efficiency | Electric, 120% Usage | EnergyStar, 120% Usage | Yes | Gas, 120% Usage | 60F | No | 0F | None | Double-Loaded Interior | None | None | 20 ft^2 | Fiberglass | None | 2 ft | None | Not Applicable | None | Top | 2 | None | Multi-Family & Single-Family Attached | None | 2 | 75F | Yes | 12F | Night -3h | No Exterior Use | Uninsulated, TrunkBranch, Copper | 200% Usage | Fuel Wall/Floor Furnace | None | None | None | No | None | None | None | None | Summer = 0.7, Winter = 0.85 | None | 100% Usage | 100% Usage | Aurora Buckley Field Angb | 39.72 | -104.75 | CR05 | None | Year-Round, 3 days/wk | 12 | Southeast | None | 2 | 0.96 | None | None | Hour18 | 33 | EF 17.6, 100% Usage | CO, 00813 | Asphalt Shingles, Medium | Stochastic | None | 1 | High | F18 B18 L18 R18 | 20 | 0 | 0 | 853 | 375 | 66.33 | 4087.4017 | 7546.6973 | 0 | 853 | 13.95 | 25.75 | 30 | 20-30 | 975.25 | 975.25 | 0 | 175.55 | 4

## Sheet1
Building ID | Age | Floor Area | Conditioned Area | Heating Fuel | Bedrooms | stock # delete late
1 | 1990s | 1000-1499 | 1220 | Natural Gas | 2 | 395397
2 | 1960s | 1500-1999 | 1690 | Electricity | 3 | 2068
3 | <1940 | 2000-2499 | 2176 | Natural Gas | 4 | 2578
4 | 1980s | 1500-1999 | 1623 | Natural Gas | 2 | 2876
5 | 1970s | 1000-1499 | 1220 | Electricity | 3 | 5274
6 | 1980s | 750-999 | 866 | Electricity | 3 | 6920
7 | 2000s | 2500-2999 | 2663 | Natural Gas | 4 | 7447
8 | 1970s | 750-999 | 853 | Electricity | 2 | 8538
9 | 2000s | 2000-2499 | 2152 | Electricity | 3 | 8585
10 | 1980s | 1000-1499 | 1220 | Natural Gas | 2 | 9112
11 | 1970s | 2000-2499 | 2152 | Natural Gas | 4 | 37662
12 | 1980s | 500-749 | 617 | Natural Gas | 1 | 41979
13 | 2000s | 3000-3999 | 3301 | Electricity | 4 | 79435
14 | 1970s | 750-999 | 853 | Natural Gas | 1 | 116279
15 | 1960s | 750-999 | 853 | Natural Gas | 2 | 316423

## Sheet3
Building ID | Date | Fuel |  | Unprogrammed Cost [$] | Unprogrammed Heating Energy [GJ] | Optimized Cost [$] | Optimized Energy [J]
1 | 2022-01-01 | Elec |  | 8.21 | 0.267 | 5.95 | 0.173 | SFHPSlab
2 | 2022-01-01 | NG |  | 2.94 | 0.34 | 1.52 |  | SFNGSlab
3 | 2022-01-01 | Elec |  | 4.07 | 0.49
4 | 2022-01-01 | Elec |  | 14.57 | 0.45
5 | 2022-01-01 | NG |  | 3.95 | 0.53
Building ID | Date |  | stock id delete later | Unprogrammed Cost [$] | Unprogrammed Heating Energy [GJ] | Optimized Cost [$] | Optimized Energy [GJ] | Recommended Cost [$] | Recommended Energy [J]
1 | 2022-01-01 |  | 395397 |  | 1.01
2 | 2022-01-01 |  | 2068 |  | 0.49
3 | 2022-01-01 |  | 2578 |  | 2.13
4 | 2022-01-01 |  | 2876
5 | 2022-01-01 |  | 5274 |  | 0.13
6 | 2022-01-01 |  | 6920 |  | 0.94
7 | 2022-01-01 |  | 7447
8 | 2022-01-01 |  | 8538
9 | 2022-01-01 |  | 8585
10 | 2022-01-01 |  | 9112
11 | 2022-01-01 |  | 37662
12 | 2022-01-01 |  | 41979
13 | 2022-01-01 |  | 79435
14 | 2022-01-01 |  | 116279
15 | 2022-01-01 |  | 316423